Technical Specifications: Robotic Hair Transplant System

Figure 1: Follicular Unit Extraction (FUE) Arms

The primary articulated limbs at the top of the unit. These are high-precision robotic arms equipped with micro-punches (typically 0.8mm to 1.0mm in diameter). They use AI-guided sensors to identify, angle, and extract individual hair follicles from the donor area with minimal tissue trauma.

Figure 2: Implantation Arm

The specialized arm designed for the "site making" and "placement" phase. It uses a synchronized depth-control mechanism to ensure follicles are placed at the correct subcutaneous level and at a natural growth angle to match existing hair patterns.

Figure 3: Patient Interface & Monitoring System

The digital control hub located on the front of the main chassis. This provides the surgeon with a real-time 3D map of the scalp, graft counts, and vital sign monitoring. It allows for manual overrides and precise calibration of the robotic "pressure" during extraction.

Figure 4: Bio-Fluidics & Storage

The internal compartment (indicated at the base) responsible for the preservation of extracted grafts. It maintains a temperature-controlled environment and utilizes specialized storage solutions (like HypoThermosol) to maximize graft survival rates before implantation.

Figure 5: Microscopy & Optical Unit

The sensor array positioned near the patient's head. It utilizes high-definition cameras and infrared sensors to "see" beneath the skin surface, allowing the machine to calculate the depth of the hair bulb to prevent transection (accidental cutting of the follicle).